## Compressor
VORTEX screw type air compressor
| Customer name | Address | Contact person | Cell no. | Email | Rating (KW) | Model
1 | Hygienetex Bangladesh (Chu Chu) | West Mukterpur, Munshigonj | Mr. Mosiur Rahman, Manager | 1938842772 | siliconebangladesh@gmail.com | 22 | ERS22
2 | Desh Pharmaceuticals | Milk Vita Road, Mirpur, Dhaka | Engr. Kamal Hossain, Plant Manager | 1558359016 | kamal95mech@yahoo.com | 30 | ERS30
3 | Anwara Styles Ltd. | Siddirgonj, Narayangonj | Mr. Masud Rana, Maintenance In-Charge | 1749400708 | masud550@yahoo.com | 37 | ERS37
4 | Fabian Thread Ltd. | Kalurghat, Chittagong | Mr. Motaleb, Manager | 1713442324 | motaleb@fabiangrp.com | 30 | ERS30
5 | S Alam Cement | Charpatherghata, Karnaphuli, Ctg. | Engr. Sazzad Kibria, Sr. Factory Manager, | 1535756456 | sazzad.kibria@yahoo.com | 22 | ERS22

## Lift
S/L | Project Name | Elevator Type | Load | Purchaser Name | Contact Person | Cell No | Site Location | Model | Contract Signing Dated | Date of test Run | Date of Hand Over | Warranty Duration | Today | Warranty Elapsed date | Last Servicing Date | Next Servicing Date | Model | Speed | Drive Type | MR Type | F/S/D | Travel | Power | Control system | Main floor | Traction machine | CTW | Location | Machine room | Entrance | Open style | Door size | Operator | Finish | Open Style | Door size | Panel | Jamb | Car size | Car Finish | Car ceiling | Car floor | Handrail | Mirror | Operation panel | Button | Indicator | Emergency button
1 | Ms.Rashida Salam | Passenger | 450 | Ms.Rashida Salam | Mr.Abdul Karim | 01847140030 | House-28, Road-18, Sector-3, Uttara, Dhaka. |  | 2013-04-09 | 2013-10-23 | 2013-10-26 | 2 | 436 | 2015-10-26 | 2016-11-02 | 2016-12-02 | [7 empty] | Simplex | GF | [22 empty] | Without
2 | Mr.Abu sayed | Passenger | 630 | Mr.Abu sayed | Mr.Kawser | 01683903790 | 97 Boro Moghbazar, Dhaka | TKJ630/1.0-8/8/8(G,12,…7) | 2014-05-11 | 2015-07-16 | 2015-07-26 | 1 | 163 | 2016-07-25 | 2016-11-06 | 2016-12-06 | [7 empty] | Simplex | GF | [22 empty] | Without
3 | Mr.Asish Kumar Shaha | Passenger | 630 | Mr.Asish Kumar Shaha | Mr.Asish Kumar Shaha | 01711548250 | Baro Kalibari Road, Tangail, Bangladesh | TKJ630/1.0-10/10/10 | 2015-07-13 | 2016-11-10 | 2016-11-12 | 1 | -312 | 2017-11-12 | 2016-11-30 | 2016-12-30 | TKJ630/1.0-10/10/10 | 1.0 M/s | VVVF Traction drive | Machine room up 2:1 | 10 floors/ 10 stops/10 doors | 27.73 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7%Lighting 220V,50Hz, single phase | Simplex | GF | Gearless | On the back |  | On the top | Single | 2-Panel centre opening | 800mm× 2100mm | Variable frequency control | Hairline stainless steel | 2-Panel centre opening | 800mm× 2100mm | Hairline stainless steel | Narrow, Hairline stainless steel | W1400×D1100×H2400mm | Hairline stainless steel | Hairline stainless steel with lighting &ventilation JF-CL-02 | PVC JF-JD-01 | 1 ps on the rear wall | without | COP JF COP02H-E & HOP JFHB02H-E | G,1,……9 | G,1,……9 | Without
4 | Dr. MD. Bazlul Haque | Passenger cum bed lift | 1050 | Dr. MD. Bazlul Haque | Dr. Md. Bazlul Haque | 01971402057 | 34,KDA, Avenue Khulna | TKJ1050/1.0-8/8/8 | 2016-01-15 |  |  | 1 | 42374 | 1900-12-30 |  | 1900-01-30 | TKJ1050/1.0-8/8/8 | 1.0 M/s | Variable Frequency (ACVVVF) Drive | Machine room up 2:1 | 8 floors/ 8 stops/ 8 doors(G,1,2…7) | 21.9 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the side |  | On the top | Single | 2-Panel Centre opening | 900mm× 2100mm | Variable frequency control | 1.5mm 304 stainless steel | 2-Panel Centre opening | 900mm× 2100mm | 1.5mm 304 stainless steel | G floor wide door jamb, other floors narrow door jamb 1.5mm 304 stainless stee | W1100×D2100×H2400mm | Left and right wall 1.5mm 304 Hairline stainless steel Rear wall mirror stainless steel | JF-inte-CL01 | PVC JF-JD-01 | 2 pcs on side walls JF-FS-01 | Without | COP JFCOP09H-C1&HOP JFHB09H-C1 | (G,1……7) | (G,1……7) | Without
5 | Commander Badruddoza Chowdhary | Passenger | 630 | Commander Badruddoza Chowdhary | Commander Badruddoza Chowdhury | 01713332210 | House-870, Road-19, Mirpur DOHS, Dhaka | TKJ630/1.0-8/8/8 | 2014-08-20 | 2015-03-19 | 2015-03-20 | 1 | 291 | 2016-03-19 | 2016-11-26 | 2016-12-26 | [7 empty] | Simplex | GF | [22 empty] | Without
6 | Energypac Engineering | Cargo | 3000 | Engr.Belal Hossain | Mr.Belal Hossain | 01713147089 | Baroipara, Savar, Dhaka | THJ3000/1.0-6/6/6 | 2014-10-17 | 2015-10-20 | 2015-12-02 | 1 | 34 | 2016-12-01 | 2016-11-25 | 2016-12-25 | THJ3000/1.0-6/6/6 | 1.0 m/s | VVVF Traction drive MR | Machine room up 2:1 | 6 floors/ 6 stops/ 6 doors(G,1,2…5) |  |  | Simplex | GF | Geared | Side acting 2:1 | In the machine room | On the top of the shaft | Single | NA | 1800 mm× 2100mm | without |  | NA | 1800 mm× 2100mm |  | without | W 2500 ×D 2100 ×H 2400 mm | Hairline Stainless Steel Finished | Hairline Stainless steel with lighting and ventilation | Checked steel | Without | Without | JF COP05P-E & JF HB05P-E | (G,1……5) | (G,1……5) | Without
7 | Energypac Engineering | Passenger | 800 | Mohammd Alauddin | Engr. Mohammad Alauddin | 01755521528 | Baroipara, Savar, Dhaka |  | 2014-05-11 | 2015-03-21 | 2015-03-28 | 1 | 283 | 2016-03-27 | 2016-11-03 | 2016-12-03 | [7 empty] | Simplex | GF | [22 empty] | Without
8 | Energypac Fashion ltd | Cargo | 2000 | Mr.Pavel Bhowmic | Mr.Palash | 01708122158 | Hotapara, Gazipur | THJ2000/1.0-5/5/5 | 2015-07-07 | 2016-02-16 | 2016-02-18 | 1 | -44 | 2017-02-17 | 2016-11-14 | 2016-12-14 | THJ2000/1.0-5/5/5 | 1.0 M/s | Geared Traction drive | Machine room up 2:1 | 5 floors/ 5 stops/ 5doors | 14.081 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Geared | On the side | In the machine room | On the top of the shaft | Single | 2-Panel side opening | 1150mm× 2100mm | Variable frequency control | Painted steel | 2-Panel side opening | 1150mm× 2100mm | Painted steel | Narrow, Painted steel | W1250×D2800×H2200mm | Painted steel | Painted steel with lighting &ventilation | Checked steel | Without | Without | COP JF COP06H-E & HOP JF HB06H-E | (G,1……4) | (G,1……4) | Without
9 | G-6 Tower | Passenger | 450 | G-6 Tower | Mr. Kamruzzaman | 01713077906 | Dhap, Zail Road, Rangpur | TKJ450/1.0-9/9/9 | 2016-01-12 | 2016-11-08 | 2016-11-10 | 1 | -310 | 2017-11-10 |  | 1900-01-30 | TKJ450/1.0-9/9/9 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 9 floors/ 9 stops/ 9 doors | 24.8 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the back |  | On the top | Single | 2-Panel center opening | 700mm× 2100mm | Variable frequency control | 1.5mm 304 Hairline stainless steel | 2-Panel center opening | 700mm× 2100mm | 1.5mm 304 Hairline stainless steel | G floor wide door jamb, Other floors narrow door jamb, 304 Hairline stainless steel | W1100×D1100×H2400mm | Rear wall middle mirror stainless steel, other 1.5mm 304 Hairline stainless steel ,Left and right wall 1.5mm 304 Hairline stainless steel Rear wall mirror stainless steel | Hairline stainless steel with lighting &ventilation JF-inte-CL01 | PVC JF-JD-01 | JF-FS-01 1 PC on the rear wall | Without | COP JF-COP12H-E & HOP JF-HB12H-E1 | (G,1……8) | (G,1……8) | Without
10 | M/S S.M. & CO | Passenger | 450 | M/S S.M. & CO | Mr. Mir Martuza Ali | 01716491315 | Hizoldi Building, Pilkhana, Dhaka | TKJ450/1.0-10/10/10 | 2015-11-08 | 2016-08-11 | 2016-08-21 | 1 | -229 | 2017-08-21 | 2016-11-07 | 2016-12-07 | TKJ450/1.0-10/10/10 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 10 floors/ 10 stops/ 10 doors(G,1,2…9) | 27.9 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7%,Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the rear |  | On the top | Single | 2-Panel Centre opening | 700mm× 2100mm | Variable frequency control | 1.5mm 304 Hairline stainless steel | 2-Panel Centre opening | 700mm× 2100mm | 1.5mm 304 Hairline stainless steel | G floor wide door jamb, Other floors narrow door jamb, 304 Hairline stainless steel | W1100×D 1100×H2400mm | 1.5mm 304 Hairline stainless steel | JF-inte-CL01 | PVC JF-JD-01 | JF-FS-01 1 PC on the rear wall | Without | COP JF-COP12H-E & HOP JF-HB12H-E1 | (G,1……9) | (G,1……9) | Without
11 | M/S S.M. & CO | Passenger | 450 | M/S S.M. & CO | Mr. Mir Martuza Ali | 01716491315 | Hizoldi Building, Pilkhana, Dhaka | TKJ450/1.0-10/10/10 | 2015-11-08 | 2016-08-11 | 2016-08-21 | 1 | -229 | 2017-08-21 | 2016-11-07 | 2016-12-07 | TKJ450/1.0-10/10/10 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 10 floors/ 10 stops/ 10 doors(G,1,2…9) | 27.9 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7%,Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the rear |  | On the top | Single | 2-Panel Centre opening | 700mm× 2100mm | Variable frequency control | 1.5mm 304 Hairline stainless steel | 2-Panel Centre opening | 700mm× 2100mm | 1.5mm 304 Hairline stainless steel | G floor wide door jamb, Other floors narrow door jamb, 304 Hairline stainless steel | W1100×D 1100×H2400mm | 1.5mm 304 Hairline stainless steel | JF-inte-CL01 | PVC JF-JD-01 | JF-FS-01 1 PC on the rear wall | Without | COP JF-COP12H-E & HOP JF-HB12H-E1 | (G,1……9) | (G,1……9) | Without
12 | Romesha Tower | Passenger | 630 | Mr.Rabiul Alam | Mr.Rabiul Alam | 01780755383 | Plot -2780/81 old’new 81/76,New Engineering Para,Rangpu | TKJ630/1.0-10/10/10 | 2015-07-27 | 2016-04-13 | 2016-04-26 | 1 | -112 | 2017-04-26 |  | 1900-01-30 | TKJ630/1.0-10/10/10 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 10floors/10 stops/ 10 doors | 27.5 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7%,Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the back |  | On the top | Single | 2-Panel center opening | 700mm× 2100mm | Variable frequency control | Hairline stainless steel | 2-Panel center opening | 700mm× 2100mm | Hairline stainless steel | Narrow, Hairline stainless steel | W1400×D1100×H2400mm | Stainless steel hairline finished | Hairline stainless steel with lighting &ventilation JF-CL-02 | PVC JF-JD-01 | Without | Without | COP COP09H-C &HOP HB09H-C | (G,1……9) | (G,1……9) | Without
13 | Md.Abu Ahad | Passenger | 450 | Md.Abu Ahad | Md.Abu Ahad | 01552445561 | House-10,Road-3,Sector-10Uttara,Dhaka-1230, Bangladesh | TKJ450/1.0-9/9/9 |  |  |  | 1 |  |  |  | 1900-01-30 | TKJ450/1.0-9/9/9 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 9 floors/ 9 stops/ 9 doors | 24.46 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7%,Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the back |  | On the top | Single | 2-Panel center opening | 800mm× 2100mm | Variable frequency control | Hairline stainless steel | 2-Panel center opening | 800mm× 2100mm | Hairline stainless steel | G floor wide jamb(300mm), Hairline stainless steel,Other floors narrow jamb, Hairline stainless steel | W1200×D1000×H2400mm | Hairline stainless steel | JF-CL-02 | PVC JF-JD-01 | PVC JF-JD-01 | Without | COP COP09H-C & HOP HB09H-C1 | (G,1……8) | (G,1……8) | Without
14 | ADEPT CONSULTANTS LTD | Passenger | 450 | ADEPT CONSULTANTS LTD |  |  |  | TKJ450/1.0-7/7/7 |  |  |  | 1 |  |  |  | 1900-01-30 | TKJ450/1.0-7/7/7 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 7 floors/7 stops/ 7doors(G,1,2…6) | 18.6 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the rear |  | On the top | Single | 2-Panel center opening | 700mm× 2100mm | Variable frequency control | Hairline stainless steel | 2-Panel center opening | 700mm× 2100mm | Hairline stainless steel | G floor wide door jamb, other floors narrow door jamb, Hairline stainless steel | W1100×D1100×H2400mm | Left and right wall Hairline stainless steel,Rear wall hairline stainless steel with middle mirror stainless steel | Hairline stainless steel ceiling with lighting and ventilation,JF-CL-02 | PVC JF-JD-05 | 1 pc on the rear wall JF-FS-01 | Without | COP JF COP02H-E &HOP JF HB02H-E | (G,1,2…6) | (G,1,2…6) | Without
15 | Dubai Palaza | Passenger | 1000 | Md. Azad Khan |  |  |  | TGJ1000/1.0-6/6/6 |  |  |  | 1 |  |  |  | 1900-01-30 | TGJ1000/1.0-6/6/6 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 6 floors/ 6stops/ 6doors(G,1, 2,3,4,5) | 17 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the side |  | On the top | Single | 2-Panel center opening | 900mm× 2100mm | Variable frequency control | Hairline stainless steel | 2-Panel center opening | 900mm× 2100mm | Hairline stainless steel | G floor wide door jamb, other floors narrow door jamb Hairline stainless steel | W1100×D2100×H2500mm | Laminated Glass with stainless steel frame , refer below picture | Stainless steel with light and ventilation，refer below picture type | PVC，JF-JD-04 | Stainless steel, refer below picture | Without | COP JFCOP09H-D1 & HOP HB09H-D | (G,1, 2,3,4,5) | (G,1, 2,3,4,5) | Without
16 | Koukab Reza | Passenger | 450 |  | Md.FirozIqbal (Sohel) | 0171510219 | House-305,Block-C,Road-Safaate Road,Bashundhara,Dhaka-1212,Bangladesh | TKJ450/1.0-5/5/5 | [7 empty] | 1900-01-30 | TKJ450/1.0-5/5/5 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 5 floors/ 5 stops/5 doors | 12 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the back |  | On the top | Single | 2-Panel centre opening | 800mm× 2100mm | Variable frequency control | Composite stainless steel | 2-Panel center opening | 800mm× 2100mm | G floor composite stainless steel (DN-T001), other floorspainted steel （P-01,RAL1013) | Narrow, G floor composite stainless steel, other floors painted steel （P-01,RAL1013) | W1100×D1100×H2400mm | composite stainless steel | Hairline stainless steel with lighting &ventilation JF-CL-02 | PVC JF-JD-05 | 1 ps on the rear wall JF-FS-01 | Without | COP COP09H-C & HOP HB09H-C | G,1,……4 | G,1,……4 | Without
17 | Shaleha Akter | Passenger | 550 | Mrs. Shahela Akhter Popi | Mr.Afzal Hossain | 01911912734 | House-182, Road-08, Block-G, Bashundhara, Dhaka-1229 | TKJ550/1.0-7/7/7 | [7 empty] | 1900-01-30 | TKJ550/1.0-7/7/7 | 1.0 M/s | Gearless Traction drive | Machine room up 2:1 | 5 floors/ 5 stops/5 doors | 18.6 | Motor 400V, 50Hz, 3 phase, Voltage fluctuation +7% Lighting 230V,50Hz, single phase | Simplex | GF | Gearless | On the side |  | On the top | Single | 2-Panel Centre opening | 800mm× 2100mm | Variable frequency control | Mirror etching titanium gold JF-K-C03 | 2-Panel Centre opening | 800mm× 2100mm | All floors mirror etching titanium gold JF-K-C03 | G floor wide door jamb, other floors narrow door jamb, hairline stainless steel | W1100×D 1150×H2400mm | JF-K-JX-03,Combination of hairline stainless steel and etched stainless steel | Hairline stainless steel frame, acrylic top-plate | Marble floor as JF-K-JX-03 shown | 1 pc as JF-K-JX-03 shown | Without | COP JFCOP09H-C1 titanium gold & HOP JFHB09H-C1 titanium gold | (G,1,2…6) | (G,1,2…6) | Without
18 | Col. Abdul Hamid Sarker | Passenger | 630 | Col. Abdul Hamid Sarker | Col. Abdul Hamid Sarker | 0182178417 | Plot#1209,Road#47A,DOHS,Mirpur,Dhaka | TKJ630/1.0-8/8/8(Transcend) | [7 empty] | 1900-01-30
Formulas:
Today = (TODAY()-[Date of Hand Over])-730
Warranty Elapsed date = [Date of Hand Over]+([Warranty Duration]*365)
Next Servicing Date = EDATE([Last Servicing Date],1)