## New One
QR Code for S&S PED Products
Customer Name:
Location:
Equipment Type: |  | Generator/Engine/Compressor/Boiler/Chiller/Lift
Equipment Brand:
Equipment Model No:
Equipment Serial No:
Engine Model Number:
Engine Serial Number:
Rating: |  | KW/KVA/HP/TR/KG
Date of Supply:
Date of Commissioning:
Customer Status | YES/NO | Job Category | YES/NO | Work Performed | YES/NO | Date of Work | Running Hours (RH) During Work
Under Warranty |  | Project Solution |  | Lube Oil Change
Customer Service Agreement (CSA) |  | Inspection/Health Check Up |  | Lube Oil Filter Change
Operation & Maintenance (O&M) |  | Schedule/Routine Maintenance |  | Fuel Filter Change
Call/Job Basis |  | Troubleshooting |  | Water Separator Filter Change
|  | Site Assesment/BOQ |  | Spark Plug Change
|  | Repair Job |  | Air Filter Change
|  | Overhauling-Top |  | Distilled Water Change
|  | Overhauling-Major |  | Coolant Change
Electrical Spares Change
Mechanical Spares Change
Radiator/Cooling Tower/Heat Exchanger Servicing
Tappet Adjustment
Alternator Servicing
Governor Servicing
Engineering/Power Management/Synchronization
Project Works
Re-commissioning Works
Other job (if any)
Other input:
Remarks (if any recommendation, action required etc. in brief):
Work Performed By: |  |  | Name (ID)
Supporting Document: |  |  | Attach service/inspection/job completion test report (scanned)
Note on A16: Author: Dropdown
Note on B16: Author: Window will appear based on selection of Customer Status
Note on C16: Author: Window will appear based on selection of Work Performed
Note on D16: Author: Window will appear based on selection of Job Category
Note on F16: Author: Window will appear based on selection of Work Performed
Note on G16: Author: If yes then this window will appear
Note on H16: Author: If yes then this window will appear
Note on E25: Author: If yes, then a separate text window will appear for necessary detail input of the spares/job
Note on E26: Author: If yes, then a separate text window will appear for necessary detail input of the spares/job
Note on E34: Author: If yes, then a separate text window will appear for necessary detail input of the job

## Old One
QR Code for Diesel Generator
Customer Name: |  |  | Location: |  | Rating:
Job Completion Date | Commissioning Date | Work Type | YES/NO(Change/Done) | Series(KVA) | Service Type | R/H
|  | Fuel Filter |  |  | UW
|  | Air Filter |  |  | OW
|  | Lube Oil Filter |  |  | CSA
|  | Water Filter |  |  | PM
|  | Lube Oil (Refill) |  |  | T/S
|  | Fuel (Diesel Refill) |  |  | OH (Top/Major)
|  | Radaitor servicing |  |  | Site Visit
|  | Electrical Equipments |  |  | Assessment
|  | Distilled Water Change |  |  | Commissioning
Coolant Change
Overhauling
Comments( If required):